## Flood
Approved Service Raiser Brackets
Through Tile-Rafter Mount
Manufacturer | Flood
Model No | BR-TT-1-450 (2H)
VSIR Approval No | SIR050106R.
kN Rating | 1
Length | 450mm
No. Phases | 1
Manufacturer | Flood
Model No | BR-TT-1-600 (6)
VSIR Approval No | SIR050106R.
kN Rating | 1
Length | 600mm
No. Phases | 1
Note - Not accepted for use in any Victorian area
Manufacturer | Flood
Model No | BR-TT-1-1500 (6A)
Model No | BR-TT-1-2000 (6B)
VSIR Approval No | SIR990605R
kN Rating | 1
Length | 1.5m & 2m
No. Phases | 1
Manufacturer | Flood
Model No | BR-TT-3-450 (3/3)
VSIR Approval No | SIR990605R
kN Rating | 2
Length | 450mm
No. Phases | 3
Manufacturer | Flood
Model No | BR-TT-1-900
VSIR Approval No | SIR140921R
kN Rating | 1
Length | 900mm
No. Phases | 1
Manufacturer | Flood
Model No | BR-TT-3-900
VSIR Approval No | SIR140921R
kN Rating | 2
Length | 900mm
No. Phases | 3
Through Tile-Rafter Mount
Manufacturer | Flood
Model No | BR-TT-1-450-2KN (3)
VSIR Approval No | SIR050106R.
kN Rating | 2
Length | 450mm
No. Phases | 1
Manufacturer | Flood
Model No | BR-TT-1-00-2KN (9)
VSIR Approval No | SIR050106R.
kN Rating | 2
Length | 600mm
No. Phases | 1
Manufacturer | Flood
Model No | BR-TT-3-600 (9\3)
VSIR Approval No | SIR050106R.
kN Rating | 2
Length | 600mm
No. Phases | 3
Note - Not accepted for use in any Victorian area
Manufacturer | Flood
Model No | BR-TT-3-1500 (9\3A)
Model No | BR-TT-3-2000 (9\3B)
VSIR Approval No | SIR990605R
kN Rating | 2
Length | 1.5m & 2m
No. Phases | 3
Straight Wall Mount
Manufacturer | Flood
Model No | BR-WN01-600 (8)
VSIR Approval No | SIR990605R
kN Rating | 1
Length | 600mm
No. Phases | 1
Note - Not accepted for use in any Victorian area
Manufacturer | Flood
Model Nos | BR-WM-1-1200 (8A)
Model Nos | BR-WM-1-1500 (8B)
VSIR Approval No | SIR990605R
kN Rating | 1
Length | 1.5m & 2m
No. Phases | 1
Note - Not accepted for use in any Victorian area
Manufacturer | Flood
Model No | BR-WW-3-1200 (8/3A)
Model No | BR-WW-3-1200 (8/3A)
VSIR Approval No | SIR990605R
kN Rating | 2
Length | 1.5m & 2m
No. Phases | 3
Under Eave Mount
Manufacturer | Flood
Model No | 13
VSIR Approval No | Not Approved
kN Rating | 1
Length | 840mm
No. Phases | 1
Manufacturer | Flood
Model No | BR-FM-1-900 (4)
VSIR Approval No | SIR990605R
kN Rating | 1
Length | 900mm
No. Phases | 1
Note - Not accepted for use in any Victorian area
Manufacturer | Flood
Model No | BR-FM-1-1500 (4A)
Model No | BR-FM-1-1500 (4B)
VSIR Approval No | SIR990605R
kN Rating | 1
Length | 1.5m & 2m
No. Phases | 1
Manufacturer | Flood
Model No | BR-FM-3-900 (5\3)
VSIR Approval No | SIR990605R
kN Rating | 2
Length | 900mm
No. Phases | 3
Under Eave Mount
Note - Not accepted for use in any Victorian area
Manufacturer | Flood
Model No | BR-FM-3-1500 (5\3A)
Model No | BR-FM-3-2000 (5\3B)
VSIR Approval No | SIR990605R
kN Rating | 2
Length | 1.5m & 2m
No. Phases | 3
Fascia and Trimmer Mount
Manufacturer | Flood
Model No | BR-RM-1-600 (22)
VSIR Approval No | SIR990605R
kN Rating | 1
Length | 600mm
No. Phases | 1
Fascia Mount
Manufacturer | Flood
Model No | BR-FM-1-400
VSIR Approval No | SIR140921R
kN Rating | 1
Length | 400mm
No. Phases | 1
Manufacturer | Flood
Model No | BR-FM-3-400
VSIR Approval No | SIR140921R
kN Rating | 2
Length | 400mm
No. Phases | 3
Discontinued
Discontinued
Discontinued
Discontinued
Discontinued
Discontinued

## B&R
Approved Service Raiser Brackets
Rafter Mounting
Manufacturer | B&R
Model No | N01V
VSIR Approval No | SIR990705R
kN Rating | 1
Length | 600mm
No. Phases | 1
Manufacturer | B&R
Model No | N02V
VSIR Approval No | SIR990705R
kN Rating | 1
Length | 900mm
No. Phases | 1
Manufacturer | B&R
Model No | N03\3V
VSIR Approval No | SIR990705R
kN Rating | 2
Length | 900mm
No. Phases | 3
Under Fascia Mounting
Manufacturer | B&R
Model No | N04\3V
VSIR Approval No | SIR990705R
kN Rating | 2
Length | 900mm
No. Phases | 3
Manufacturer | B&R
Model No | N04V
VSIR Approval No | SIR990705R
kN Rating | 1
Length | 900mm
No. Phases | 1
Manufacturer | B&R
Model No | N06\3V
VSIR Approval No | SIR990705R
kN Rating | 2
Length | 900mm
No. Phases | 3
Manufacturer | B&R
Model No | N06V
VSIR Approval No | SIR990705R
kN Rating | 1
Length | 900mm
No. Phases | 1
Surface Mounting Mounting
Manufacturer | B&R
Model No | N05\3V
VSIR Approval No | SIR990705R
kN Rating | 2
Length | 900mm
No. Phases | 3
Manufacturer | B&R
Model No | N05V
VSIR Approval No | SIR990705R
kN Rating | 1
Length | 900mm
No. Phases | 1
Discontinued
Discontinued
Discontinued
Discontinued

## Omega
Approved Service Raiser Brackets
Rafter Mounting
Manufacturer | Galpro
Omega Model No | TRA 2H
VSIR Approval No | SIR141116R
kN Rating | 1
Length | 600mm
No. Phases | 1
Manufacturer | Galpro
Omega Model No | TRA 6
VSIR Approval No | SIR141116R
kN Rating | 1
Length | 900mm
No. Phases | 1
Manufacturer | Galpro
Omega Model No | TRA 3-3
VSIR Approval No | SIR141116R
kN Rating | 2
Length | 600mm
No. Phases | 3
Manufacturer | Galpro
Omega Model No | TRA 9-3
VSIR Approval No | SIR141116R
kN Rating | 2
Length | 900mm
No. Phases | 3
Fascia Mounting
Manufacturer | Galpro
Omega Model No | TRA 4
VSIR Approval No | SIR141116R
kN Rating | 1
Length | 600mm
No. Phases | 1
Manufacturer | Galpro
Omega Model No | TRA 5.3
VSIR Approval No | SIR141116R
kN Rating | 2
Length | 600mm
No. Phases | 3

## K2 Components
Approved Service Raiser Brackets
Rafter Mounting
Manufacturer | K2 Components
Model No | 2H
VSIR Approval No | SIR140321R
kN Rating | 1
Length | 500mm
No. Phases | 1
Manufacturer | K2 Components
Model No | 6
VSIR Approval No | SIR140321R
kN Rating | 1
Length | 840mm
No. Phases | 1
Manufacturer | K2 Components
Model No | 3.3
VSIR Approval No | SIR140321R
kN Rating | 2
Length | 500mm
No. Phases | 3
Fascia Mounting
Manufacturer | K2 Components
Model No | 4
VSIR Approval No | SIR140321R
kN Rating | 1
Length | 840mm
No. Phases | 1
Manufacturer | K2 Components
Model No | 5.3
VSIR Approval No | SIR140321R
kN Rating | 2
Length | 500mm
No. Phases | 3

## EDS
Approved Service Raiser Brackets
Rafter Mounting
None approved
Fascia Mounting
Manufacturer | EDS Group
Model No | FA1Vic
VSIR Approval No | SIR140421R
kN Rating | 1
Length | 300mm
No. Phases | 1
Manufacturer | EDS Group
Model No | FA2Vic
VSIR Approval No | SIR140421R
kN Rating | 1
Length | 600mm
No. Phases | 1
Manufacturer | EDS Group
Model No | FA3Vic
VSIR Approval No | SIR140421R
kN Rating | 1
Length | 900mm
No. Phases | 1
Manufacturer | EDS Group
Model No | FA23PHSPVic
VSIR Approval No | SIR140421R
kN Rating | 2
Length | 600mm
No. Phases | 3
Manufacturer | EDS Group
Model No | FA33PHSPVic
VSIR Approval No | SIR140421R
kN Rating | 2
Length | 900mm
No. Phases | 3